## Site Survey
SO#
Case#
INSTRUMENT DELIVERY INSTRUCTIONS
DELIVERY DATE |  |  | Carrier will contact customer to confirm delivery time
CONTACT INFORMATION
PRIMARY DELIVERY CONTACT
PRIMARY PHONE NUMBERS
SECONDARY DELIVERY CONTACT
SECONDARY PHONE NUMBERS
RECEIVING HOURS OF OPERATION |  | 8 am - 5 pm
DELIVERY ADDRESS INFORMATION
COMPANY NAME
ADDRESS
There will be NO Illumina representative present.
TYPE OF INSTRUMENT TO BE DELIVERED
Additional instruments to be delivered:
Additional instruments to be picked up: |  |  | No, only empty crates
Site requirements:
1
2
3
4
5
6
7
8
9
10
Miscellaneous comments for a successful delivery:
Upon arrival please contact the primairy contact person. He will guide you to the correct location.
Equipment needed by carrier:
Tail lift, Flatbed Scissor lift, other relevant lifting equipment, equipment to unscrew bolts inside the crate

## general
INSTRUMENT DELIVERY INSTRUCTIONS | Miniseq
INSTRUMENT PICKUP INSTRUCTIONS | MiSeq
NextSeq
NextSeq2000
HiSeq
HiSeqX
NovaSeq
NeoPrep
iScan
HiScan
Autoloader
Genome Analyzer
Icompute STD
Icompute Elite
MiSeq LOANER
HiSeq LOANER
iScan LOANER
HiScan LOANER
Tecan Robot
There will be NO Illumina representative present. | cBot
There will be an Illumina engineer present during delivery. | No, only empty crates

## Questions
MiSeq1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
MiSeq2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
MiSeq3 | Is the lab located on the ground floor ?
MiSeq4 | If the use of an elevator is needed, is it big enough for a crate (85 width x80 height x75 depth ) weighing 90 kg ?
MiSeq5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
MiSeq6 | Are there adequate doorway clearances ?
MiSeq7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
NextSeq1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
NextSeq2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
NextSeq3 | Is the lab located on the ground floor ?
NextSeq4 | If the use of an elevator is needed, is it big enough for a crate (91x width x97 height x91 depth ) weighing 152 kg ?
NextSeq5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
NextSeq6 | Are there adequate doorway clearances ? This pallet does not fit a standard door!
NextSeq7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
HiSeq1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
HiSeq2 | Instrument to be uncrated, unpacked and placed on table according to engineer instructions?
HiSeq3 | Is the lab located on the ground floor ?
HiSeq4 | If the use of an elevator is needed, is it big enough for a crate (164 width x121 height x104 depth ) weighing 312 kg ?
HiSeq5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
HiSeq6 | Are there adequate doorway clearances ?
HiSeq7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
HiSeq8 | FSE; Please confirm if we need to ship a laser curtain (PN#15011416) and Step Tool (PN#15011418)
Icompute STD1 | Is the lab ready to receive the instrument?
Icompute STD2 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
Icompute STD3 | Please provide minimum doorway clearance :
Icompute STD4 | If the use of an elevator is needed, is it big enough for a crate (60 width x83 height x105 depth ) weighing 100 kg ?
Icompute STD5 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
Icompute Elite1 | Is the lab ready to receive the instrument?
Icompute Elite2 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
Icompute Elite3 | Please provide minimum doorway clearance :
Icompute Elite4 | If the use of an elevator is needed, is it big enough for a crate (60 width x200 height x120 depth ) weighing up to 600 kg ?
Icompute Elite5 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
iScan1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
iScan2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
iScan3 | Is the lab located on the ground floor ?
iScan4 | If the use of an elevator is needed, is it big enough for a crate (85 width x80 height x75 depth ) weighing 90 kg ?
iScan5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
iScan6 | Are there adequate doorway clearances ?
iScan7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
HiScan1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
HiScan2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
HiScan3 | Is the lab located on the ground floor ?
HiScan4 | If the use of an elevator is needed, is it big enough for a crate (108 width x96 height x130 depth ) weighing 243 kg ?
HiScan5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
HiScan6 | Are there adequate doorway clearances ?
HiScan7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
HiScan8 | FSE; Please confirm if we need to ship a laser curtain (PN#15011416) and Step Tool (PN#15011418)
Tecan Robot1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
Tecan Robot2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
Tecan Robot3 | Is the lab located on the ground floor ?
Tecan Robot4 | If the use of an elevator is needed, is it big enough for a crate (130 width x94 height x156 depth ) weighing 218 kg ?
Tecan Robot5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
Tecan Robot6 | Are there adequate doorway clearances ?
Tecan Robot7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
MiSeq LOANER1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
MiSeq LOANER2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
MiSeq LOANER3 | Is the lab located on the ground floor ?
MiSeq LOANER4 | If the use of an elevator is needed, is it big enough for a crate (85 width x80 height x75 depth ) weighing 90 kg ?
MiSeq LOANER5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
MiSeq LOANER6 | Are there adequate doorway clearances ?
MiSeq LOANER7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
HiSeq LOANER1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
HiSeq LOANER2 | Instrument to be uncrated, unpacked and placed on table according to engineer instructions?
HiSeq LOANER3 | Is the lab located on the ground floor ?
HiSeq LOANER4 | If the use of an elevator is needed, is it big enough for a crate (164 width x121 height x104 depth ) weighing 312 kg ?
HiSeq LOANER5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
HiSeq LOANER6 | Are there adequate doorway clearances ?
HiSeq LOANER7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
NeoPrep1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
NeoPrep2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
NeoPrep3 | If no White Glove is needed add to Internal Notes Shipping: Please ship with UPS heavy
Miniseq1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
Miniseq2 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
Miniseq3 | Is the lab located on the ground floor ?
Miniseq4 | If the use of an elevator is needed, is it big enough for a small crate (50 width x55 height x52 depth ) weighing 57 kg ?
Miniseq5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
Miniseq6 | Are there adequate doorway clearances ?
Miniseq7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
NovaSeq1 | Is the lab ready to receive the instrument? Is there sufficient bench space?
NovaSeq2 | Instrument to be uncrated, unpacked and placed on table according to engineer instructions?
NovaSeq3 | Is the lab located on the ground floor ?
NovaSeq4 | If the use of an elevator is needed, is it big enough for a crate (80 width x160 height x95 depth ) weighing 455 kg ?
NovaSeq5 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
NovaSeq6 | Are there adequate doorway clearances ?
NovaSeq7 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)
NextSeq20001 | Is the lab ready to receive the instrument? Is there sufficient bench space?
NextSeq20002 | Instrument to be uncrated, unpacked and placed on table according to customer instructions?
NextSeq20003 | Is the lab located on the ground floor ?
NextSeq20004 | If the use of an elevator is needed, is it big enough for a crate (90x width x117 height x125 depth ) weighing 231 kg ?
NextSeq20005 | Are there any ramps, stairs or other obstacles between the entrance and the lab ?
NextSeq20006 | Are there adequate doorway clearances ? This pallet does not fit a standard door!
NextSeq20007 | Does the lab have resticted access? If yes, is there a security clearance required? (provide courier details upfront)